Andhra University

Department of Inorganic and Analytical Chemistry

M.Sc. (Final) Chemistry Syllabus for 3rd Semester

Specialization - Analytical Chemistry

Paper – IV: Instrumental methods of analysis - I

(Effective only for 2020-21 academic year; Examiner has to set the question paper only from Examination units and not from assignment unit)

Unit – I :   (EXAMINATION)

(a) UV-Visible Spectroscopy: Introduction to UV-Visible spectroscopy, deviation from

Beer’s law; Instrumentation- single and double beam spectrophotometers, sources of radiation, filters and monochromators, sample cells, detectors. Principle of    diode   array spectrophotometers, Principle of UV-visible diffuse reflectance spectrophotometer, spectrophotomeric titrations,  applications- general precautions in colorimetric determinations, colorimetric determination of  Fe2+, Fe3+, Al3+, NH4+, Cr6+, Co3+, Cu2+, Ni2+, NO2-and PO43- using suitable reagents, simultaneous determinations of dichromate and permanganate in a mixture,  determinations of aromatic primary amines, riboflavin and paracetamol.

(b) Spectrofluorimetry: Theory of fluorescence, and phosphorescence, types of fluorescence, factors affecting fluorescence intensity, relationship between fluorescence intensity and concentration; Quenching of fluorescence and types of Quenching, Instrumentation, advantages and limitations of fluorimetry. Applications-determination of Al3+, chromium salts, Li+, fluorescence, thiamin (B1) and riboflavin (B12), nicotinamide and methyl dopa.

Unit – II :  (EXAMINATION)

(a)     	Infrared Spectroscopy: Introduction to Infrared Spectroscopy, characteristic frequencies of organic compounds, instrumentation – IR sources, sample cells, sample preparations techniques, detectors; dispersive IR spectrophotometer, Non-dispersive IR spectrophotometer for analysis of CO and other organic compounds, principle of FTIR spectrometer, Attenuated Total Reflection (ATR) IR. Qualitative and quantitative analysis with reference to petroleum industry and polymer industry, Identification of drug substances and identification of impurities in a drug sample.

(b)	Raman Spectroscopy: Theory, instrumentation, sample handling, instrumentation, Raman spectra of HCN,CO, CO2, N2O, H2O and quantitative analysis.

Unit – III :   (EXAMINATION)

- NMR Spectroscopy: Introduction to NMR spectroscopy-resonance condition,  nuclei with quadruple moments, relaxation process and causes for relaxation process (Magnetic dipole-dipole interactions, paramagnetic relaxation, chemical shift anisotropy, quadruple relaxation, scalar relaxation and spin rotation relaxation), chemical  shift, factors affecting chemical shift, shielding, spin-spin splitting, mechanism for spin-spin coupling, factors affecting the germinal and vicinal coupling, NMR Instrumentation, sample preparations, FT NMR, Solid state magic angle NMR; spin-decoupling experiments-double resonance, off-resonance, spin tickling, nuclear over house effect and shift reagents; NMR of other than proton-13C, 15N, 19F, 31P, and 11B. Variable temperature NMR experiment for fast chemical reactions and fluxional molecules.

- ESR Spectroscopy: principle, g value, hyper fine splitting, qualitative analysis, Kramer’s degeneracy, fine splitting, instrumentation, introduction to double resonance technique, difference between ESR and NMR spectra, ESR spectra of free radicals and other analytical applications.

Unit – IV: (ASSIGNMENT)

(a)	 Mass Spectroscopy: Principle, types of peaks observed, resolution, Instrumentation-sample inlet systems (batch inlet, direct probe, chromatographic and capillary electrophoretic), Ionization techniques: Electron impact ionization, Electrospray ionization, Chemical ionization, atmospheric pressure chemical ionization, Matrix-assisted laser desorption ionization, fast atom bombardment and inductive coupled plasma; Mass Analyzers: Magnetic sector mass analyzer (single and double focusing), Quadruple, Ion traps, Time of flight (TOF); Ion detectors, FTMS, Tandem mass spectrometry(MSn ), qualitative analysis, molecular weight determination, quantitative analysis.

(b)	X-Ray Spectroscopy (XRF): basic principle, Instrumentation- energy dispersive and wavelength dispersive techniques, chemical analysis by X-ray spectrometers, matrix effects, applications.

Text Books:

- Instrumental methods of analysis – H.H Willard, Meritt Jr. and J.A Dean

- Principles of instrumental analysis – Skoog and West

- Vogels Textbook of Quantitative Inorganic analysis – J. Basset, R.C Denney, G.H Jefferey and J.Madhan

- Instrumental methods of analysis – B.K Sarma, Goel Publishing House, Meerut

- Instrumental methods of Analysis – Ewing

- Handbook of ICP- Bogdain B.

- Analytical Chemistry Instrumental techniques, Maninder Singh, Dominent Publishers, New Delhi, 2002.

- Mass spectrometry for Chemists and Biochemists, Robert A.W. Johnstone and Macolm. E. Rose, 2th ed Cambridge University Press 1996.

- Structural methods in Inorganic chemistry - E.A.V. Ebsworth, et al ELBS Publications,1988

- Physical methods for Chemists, Russell S. Drago second edition, Saunders College publishing 1992.

- Mass Spectrometry Basics, Herbert, Christopher G.; Johnstone, Robert A.W., CRC Press.

Reference Books:

- Applications of ICP-MS, A.R Date and A.L Glay, London (Eds), Blackie, London

- A. Moutaser and D.W Gologhtly (Eds), ICP in Analytical Atomic Spectrometry, VeH Publishers, New York

- G.I Moore, Introduction to ICP emission Spectrometry in Analytical Spectroscopy, Elsevier, Amsterdam

- Infrared and Raman Spectra of Inorganic and Coordination Compounds, KazuoNakamoto, 5th ed., John Wiley & Sons, 1995.

- Instrumental methods of Analysis – Chatwal and Anand

- 16. Mass Spectrometry-A Textbook by Jürgen H. Gross, © Springer-Verlag Berlin Heidelberg 2004, Printed in Germany.